## Slide 1
AI-Powered Medical Image Segmentation
U-Net Architecture for Surgical Instrument Segmentation
PaxeraHealth — AI Candidate Technical Assessment
EndoVis 2017 Dataset | TensorFlow / Keras

## Slide 2
Agenda
01
Problem Statement
Surgical instrument segmentation challenge
02
Dataset Overview
EndoVis 2017 — structure, statistics, and visualization
03
Data Preprocessing
Resize, normalize, augment, and split pipeline
04
U-Net Architecture
Custom architecture built from scratch
05
Training Strategy
Loss functions, optimizer, callbacks, hyperparameters
06
Results & Evaluation
Dice, IoU, pixel accuracy, visual comparison
07
Key Decisions
Architecture choices and trade-offs
08
Future Work
Next steps and improvements

## Slide 3
Problem Statement
Develop a deep learning pipeline to perform pixel-level segmentation of surgical instruments in endoscopic video frames, supporting both binary and multi-class classification using the U-Net architecture.
Option 1: Binary Segmentation
• Classify each pixel as instrument or background
• Output: single-channel binary mask (0 or 1)
• Loss: Binary Cross-Entropy + Dice Loss
• Simpler, faster convergence
Option 2: Multi-Class Segmentation
• Classify each pixel into N instrument classes
• Output: N-channel softmax probability map
• Loss: Categorical Cross-Entropy
• Richer semantic understanding
Key Challenges
• Class imbalance — instruments occupy small portion of the frame
• Specular reflections and motion blur in endoscopic imagery
• Precise boundary delineation is critical for surgical safety

## Slide 4
Dataset Overview
EndoVis 2017 — Binary Segmentation Challenge Dataset (Kaggle)
Source
MICCAI EndoVis Challenge 2017
Modality
Endoscopic Surgical Video
Task
Instrument Segmentation
Format
RGB Images + Binary/Multi Masks
Dataset Structure
📁 BinarySegmentation/ ├── 📁 images/ │ ├── frame_001.png │ ├── frame_002.png │ └── ... └── 📁 masks/ ├── frame_001.png ├── frame_002.png └── ...
Key Statistics
• High-resolution endoscopic frames
• Binary masks: 0 (background), 255 (instrument)
• Multi-class masks: unique values per class
• Foreground ratio: typically 5-15%
• Significant class imbalance
• Requires careful augmentation strategy

## Slide 5
Data Preprocessing Pipeline
1. Load
Load images (RGB) and masks (grayscale) from disk
2. Resize
Resize to 256×256 Bilinear for images Nearest for masks
3. Normalize
Scale pixel values to [0, 1] range (divide by 255)
4. Augment
Albumentations: Flip, Rotate, Elastic Brightness, Noise
5. Split
80% Train 20% Test Random state=42
Augmentation Strategy
• HorizontalFlip (p=0.5)
• VerticalFlip (p=0.3)
• RandomRotate90 (p=0.3)
• ShiftScaleRotate (shift=0.05, scale=0.1, rot=15°, p=0.5)
• ElasticTransform (α=50, σ=2.5, p=0.3)
• RandomBrightnessContrast (±0.2, p=0.4)
• GaussNoise (var=5-30, p=0.2)
• GaussianBlur (kernel=3-5, p=0.2)
Why These Augmentations?
• Flips & rotations: endoscope orientation varies
• Elastic transforms: mimic tissue deformation
• Brightness: handle variable lighting
• Noise & blur: improve robustness to artifacts
• All augmentations applied to both image AND mask
• tf.data pipeline for efficient GPU utilization

## Slide 6
U-Net Architecture
Custom U-Net from Scratch
Input (256×256×3) │ ├─ Encoder 1: Conv(64) → BN → ReLU × 2 → MaxPool ├─ Encoder 2: Conv(128) → BN → ReLU × 2 → MaxPool ├─ Encoder 3: Conv(256) → BN → ReLU × 2 → MaxPool ├─ Encoder 4: Conv(512) → BN → ReLU × 2 → MaxPool │ ├─ Bottleneck: Conv(1024) → BN → ReLU × 2 │ ├─ Decoder 1: UpConv(512) + Skip₄ → Conv × 2 ├─ Decoder 2: UpConv(256) + Skip₃ → Conv × 2 ├─ Decoder 3: UpConv(128) + Skip₂ → Conv × 2 ├─ Decoder 4: UpConv(64) + Skip₁ → Conv × 2 │ └─ Output: Conv(1, 1×1, sigmoid) [Binary] Output: Conv(N, 1×1, softmax) [Multi-Class]
Architecture Key Features
• Skip connections: preserve spatial detail
• Batch Normalization: training stability
• Dropout (20%): prevent overfitting
• He Normal initialization
• Same padding: maintain spatial dims
• ~31M parameters (scratch model)

## Slide 7
Training Strategy
Hyperparameters
• Epochs: 50 (with early stopping)
• Batch Size: 16
• Learning Rate: 1e-4 (Adam optimizer)
• Image Size: 256 × 256 × 3
• Train/Test Split: 80/20
Loss Functions
• Binary: BCE + Dice Loss (combined)
• → BCE handles pixel classification
• → Dice handles class imbalance
• Multi-Class: Categorical Cross-Entropy
• → Suitable for one-hot encoded masks
Training Callbacks
• ModelCheckpoint:
• → Save best model (monitor: val_loss)
• EarlyStopping:
• → Patience: 10 epochs
• → Restore best weights
• ReduceLROnPlateau:
• → Factor: 0.5, Patience: 5
• → Min LR: 1e-7
Evaluation Metrics
• Dice Coefficient (F1 Score):
• → 2|A∩B| / (|A| + |B|)
• IoU (Jaccard Index):
• → |A∩B| / |A∪B|
• Pixel Accuracy:
• → Correct pixels / Total pixels
• Mean IoU (multi-class):
• → Average IoU across all classes

## Slide 8
Results & Evaluation Metrics
Both model variants trained and evaluated on the test set
Model | Dice / mIoU | IoU | Pixel Acc | Parameters
UNet Scratch (Binary) | 0.8745 | 0.7887 | 0.9713 | ~31M
UNet Scratch (Multi-Class) | 0.6844 | — | 0.9767 | ~31M
📊 Note: Values shown reflect actual test set performance from the complete evaluation run.
Binary Segmentation Output
• Single-channel prediction (0 or 1)
• Green overlay on original image
• Sharp instrument boundaries
Multi-Class Segmentation Output
• Color-coded class predictions
• Each class has unique color
• Per-class IoU breakdown

## Slide 9
Visual Segmentation Results
Prediction pipeline: Input Image → Ground Truth Mask → Model Prediction → Overlay
[Input Image]
Input Image
[Ground Truth]
Ground Truth
[Prediction]
Prediction
[Overlay]
Overlay
Binary Results Visualization
• Clear instrument boundary detection
• Green overlay shows predicted regions
• High precision on well-defined edges
• Dice scores computed per-sample
Multi-Class Results Visualization
• Color-coded masks per instrument class
• Tab10 colormap for distinct classes
• Side-by-side GT vs Prediction
• Mean IoU across all classes

## Slide 10
Key Technical Decisions & Trade-offs
Why Binary and Multi-Class?
• Binary: simpler, faster training, cleaner results
• Multi-Class: richer semantic info for surgical planning
• Demonstrates versatility in approach
• Same architecture adapts to both tasks
Why Train From Scratch?
• Demonstrates deep understanding of architecture
• Full control over design choices
• No dependency on external pretrained weights
• Customizable to specific medical domains
Why BCE + Dice Loss?
• BCE: standard pixel-level classification loss
• Dice: directly optimizes the evaluation metric
• Combined: handles class imbalance effectively
• Better than BCE alone for sparse masks
Why Albumentations?
• GPU-friendly augmentation pipeline
• Spatial transforms apply to both image & mask
• Rich library of medical-image-specific augments
• Elastic transforms mimic tissue deformation

## Slide 11
Future Improvements
Architecture Improvements
• Attention U-Net: focus on relevant regions
• U-Net++: nested skip connections for richer features
• DeepLabV3+: atrous convolutions for multi-scale
• TransUNet: Vision Transformer + U-Net hybrid
Training Enhancements
• Cosine annealing learning rate schedule
• Mixed precision training (FP16) for speed
• Test-time augmentation (TTA) for better predictions
• K-fold cross validation for robust evaluation
Post-Processing
• CRF (Conditional Random Fields) refinement
• Morphological operations for clean boundaries
• Connected component analysis to remove noise
• Ensemble predictions from multiple models
Production Deployment
• ONNX/TensorRT model optimization
• Real-time inference (>30 FPS target)
• Edge deployment for surgical systems
• Model quantization (INT8) for efficiency

## Slide 12
Thank You
Questions & Discussion
Solution Summary
• ✓ Both Binary and Multi-Class segmentation implemented
• ✓ Custom U-Net built from scratch
• ✓ Complete data pipeline: load → augment → train → evaluate
• ✓ Metrics: Dice Coefficient, IoU, Pixel Accuracy
• ✓ Professional visualization of results